## Original
Metric | Useful?
id | No
date | No | Can be derived from timestamp
timestamp | Yes
month | No | Same as date
year | No
gateway_serial | Yes | For confirmation that it is the right site
line_to_neutral_voltage_phase_a | Yes
line_to_neutral_voltage_phase_b | Yes
line_to_neutral_voltage_phase_c | Yes
line_current_overall_phase_a | Yes | Use these to generate the neutral current
line_current_overall_phase_b | Yes
line_current_overall_phase_c | Yes
active_power_overall_total | Yes | Is there something similar to this?
power_factor_overall_phase_a | Yes | Overall power factor works here but we still need it for neutral current calculations
power_factor_overall_phase_b | Yes
power_factor_overall_phase_c | Yes
active_power_overall_phase_a | No
active_power_overall_phase_b | No
active_power_overall_phase_c | No
voltage_unbalance_factor | Yes
current_unbalance_factor | Yes
frequency | No | What is the effect of frequency?
power_factor_overall | Yes | Let's try the calculation as well. Seems the formula method will be the best.
reactive_power_overall_total | No | I believe I need just the active and the apparent
reactive_power_overall_phase_a | No
reactive_power_overall_phase_b | No
reactive_power_overall_phase_c | No
apparent_power_overall_total | Yes
company_id | No
reactive_power_overall | No | Equivalent to reactive_power_overall
total_harmonic_distortion_current_phase_a | Yes | We use to calculate the average THD
total_harmonic_distortion_current_phase_b | Yes
total_harmonic_distortion_current_phase_c | Yes
load | Yes | Encompasses the load of the current asset. Can be used for validation
energy | No | Another form of the kWhs
Distributed_Electricity | No | Same as the kWhs
input_channel_1_current | No
input_channel_1_active_power | No
input_channel_1_reactive_power | No
input_channel_1_apparent_power | No
input_channel_1_power_factor | No
input_channel_2_current | No
input_channel_2_active_power | No
input_channel_2_reactive_power | No
input_channel_2_apparent_power | No
input_channel_2_power_factor | No
input_channel_3_current | No
input_channel_3_active_power | No
input_channel_3_reactive_power | No
input_channel_3_apparent_power | No
input_channel_3_power_factor | No
input_channel_4_current | No
input_channel_4_active_power | No
input_channel_4_reactive_power | No
input_channel_4_apparent_power | No
input_channel_4_power_factor | No
input_channel_5_current | No
input_channel_5_active_power | No
input_channel_5_reactive_power | No
input_channel_5_apparent_power | No
input_channel_5_power_factor | No
input_channel_6_current | No
input_channel_6_active_power | No
input_channel_6_reactive_power | No
input_channel_6_apparent_power | No
input_channel_6_power_factor | No
input_channel_7_power_factor | No
input_channel_8_power_factor | No
input_channel_9_power_factor | No
user_channel_1_active_power | No
user_channel_1_reactive_power | No
user_channel_1_apparent_power | No
user_channel_1_power_factor | No
user_channel_2_active_power | No
user_channel_2_reactive_power | No
user_channel_2_apparent_power | No
user_channel_2_power_factor | No
user_channel_3_power_factor | No
power_asset_1_kW | No
power_asset_1_kvar | No
power_asset_1_kVA | No
power_asset_1_kWh | No | Already in the total_system_kWh
power_asset_1_kvarh | No
power_asset_1_hours | No
power_asset_1_current_phase_a | No
power_asset_1_current_phase_b | No
power_asset_1_current_phase_c | No
power_asset_2_kW | No
power_asset_2_kvar | No
power_asset_2_kVA | No
power_asset_2_kWh | No | Already in the total_system_kWh
power_asset_2_kvarh | No
power_asset_2_hours | No
power_asset_2_current_phase_a | No
power_asset_2_current_phase_b | No
power_asset_2_current_phase_c | No
dominant_asset_kW | No
dominant_asset_kWh | No
total_system_kW | No
total_system_kWh | Yes
total_system_hours | No
power_asset_1_name | No
power_asset_2_name | No
power_asset_1_type | No
power_asset_2_type | No
dominant_asset | No
active_assets | Yes
active_asset_count | Yes | For now. To confirm that only one can be active at a time. After a few analysis, we can delete
workhour | Yes | Is it a workhour?
created_at | No
input_channel_1_current_demand | No | Check the meter documentation for what current demand is all about
input_channel_2_current_demand | No
input_channel_3_current_demand | No
input_channel_4_current_demand | No
input_channel_5_current_demand | No
input_channel_6_current_demand | No
input_channel_7_current_demand | No
input_channel_8_current_demand | No
input_channel_9_current_demand | No
input_channel_10_power_factor | No
input_channel_10_current_demand | No
input_channel_11_power_factor | No
input_channel_11_current_demand | No
input_channel_12_power_factor | No
input_channel_12_current_demand | No
input_channel_13_power_factor | No
input_channel_13_current_demand | No
input_channel_14_power_factor | No
input_channel_14_current_demand | No
input_channel_15_power_factor | No
input_channel_15_current_demand | No
input_channel_16_power_factor | No
input_channel_16_current_demand | No
input_channel_17_power_factor | No
input_channel_17_current_demand | No
input_channel_18_power_factor | No
input_channel_18_current_demand | No
user_channel_4_power_factor | No
user_channel_5_power_factor | No
user_channel_6_power_factor | No
average_voltage_unbalance_factor | No | What is the difference between voltage_unbalance_factor and average_voltage_unbalance_factor. Checked and it seems this one is from another place o
average_current_unbalance_factor | No | Same
active_demand_phase_a | No | We'll explore the demand side later
active_demand_phase_b | No
active_demand_phase_c | No
active_demand_overall_total | No
reactive_demand_phase_a | No
reactive_demand_phase_b | No
reactive_demand_phase_c | No
apparent_demand_phase_a | No
apparent_demand_phase_b | No
apparent_demand_phase_c | No
active_energy_phase_a | No | All these energy stuff are an accumulation over time not instantaneous
active_energy_phase_b | No
active_energy_phase_c | No
reactive_energy_phase_a | No
reactive_energy_phase_b | No
reactive_energy_phase_c | No
power_asset_1_power_source_id | No
power_asset_2_power_source_id | No
transformer_capacity | Yes | Seems both of these are not active. If I'm only considering a site, I don't think I need the capacity
transformer_load_percentage | Yes

## Final Selection
Metric | Source | Comment
timestamp | Database |  |  | Determine how to fill the nulls
gateway_serial | Database
active_power_overall_total | Database
apparent_power_overall_total | Database
power_factor_overall | Database
updated_power_factor_overall | Calculated
total_system_kWh | Database
load | Database | To validate total_system_kWh. Will be dropped later
active_assets | Database
active_asset_count | Database | To see if the count can ever go higher than 1
workhour | Database | See how we can fill this in
transformer_capacity | Manual Input | 200 kVA | I believe I can just make this one variable
transformer_load_percentage | Calculated
line_to_neutral_voltage_phase_a | Database
line_to_neutral_voltage_phase_b | Database
line_to_neutral_voltage_phase_c | Database
line_current_overall_phase_a | Database
line_current_overall_phase_b | Database
line_current_overall_phase_c | Database
neutral_current | Calculated
power_factor_overall_phase_a | Database
power_factor_overall_phase_b | Database
power_factor_overall_phase_c | Database
voltage_unbalance_factor | Database
current_unbalance_factor | Database
total_harmonic_distortion_current_phase_a | Database
total_harmonic_distortion_current_phase_b | Database
total_harmonic_distortion_current_phase_c | Database
average_thd | Calculated
neutral_current | Calculated
power_cut_flag
generator_run_hours |  | Not certain yet
frequency |  | Should be on top